## Sites_Bulk_Import_Template
Ignore | RowID | ParentID | Row Type | Site Name | Store # | Type | Address | State | City | Zip Code | Site Phone | District | Region | Area | Store Hours | Groups | Fan Preferences | Lock Preferences | Reset HVAC to Auto | Reset Hold to Off | Min SP | Max SP | Nightly Schedule Download | Actual Site Survey Date | Occupy Hours | Square Footage | Building Layout and location of thermostats and sensors, also include square footage | Is there a floor plan on the wall? If so, please take a picture and mark location of thermostats and remote sensors | Local Site Contact | Local Contact Phone | Local Contact Email | Local Contact Mobile | Alternate Site Contact | Alternate Contact Phone | Escort Contact Name | Escort Contact Number | List any access restrictions different from normal business hours | Special Room Access Information | Is there a lock box on thermostat, if so who has access? | Who has access or who manages the thermostat? | Building Environment | Notes | Model of the HVAC | Unit # | Select where it’s located | Heating Temperature | Cooling Temperature | How do employees believe the system has been running? | HVAC Unit # | Thermostat Unit # | Location of thermostat | Other Location | Is the mounting space large enough? | Make of Thermostat | Model of Thermostat | Please describe current wiring configuration of Thermostats | Confirm 24VDC between the RC/R and C | If there is 'C' wire attached | If there is no 'C' attached, check if there is a spare unused wire in the bundle of HVAC wiring | Does thermostat have an automated schedule ? | Schedule Details | Location of remote sensors for this thermostat | If sensors are present, validate which sensor is connected to which thermostat | Please describe wiring to current sensor if applicable | Survey Technician Name | Survey Technician Phone Number | Survey Notes
Note on E1: A mandatory column
Note on F1: Only numeric values are accepted in this column
Note on G1: This column will accept the store type in form of codes as below: Restaurant - Casual Family : 1 Restaurant - Fast Casual : 2 Restaurant - QSR : 3 Restaurant - other : 4 Retail - Banking : 5 Retail - Convenience Stores : 6 Retail - Specialty : 7 Retail - Wireless : 8 Retail - other : 9 If you wish to add a new type to the site, please enter the 'type' instead of code
Note on H1: A mandatory column
Note on I1: A mandatory column
Note on J1: A mandatory column
Note on K1: A mandatory column
Note on L1: A mandatory column
Note on P1: This column will accept the store hours in the following format: Mon,Tue,Wed: 8 AM - 6 PM Thu,Fri: 9 AM - 7 PM Sat,Sun: 10 AM - 10 PM Mon=Monday, Tue=Tuesday, Wed=Wednesday, Thu=Thursday, Fri=Friday, Sat=Saturday, Sun=Sunday Comma ',' is used as a delimiter to separate the days Hyphen ‘-‘ is used as a delimiter to separate the Store Hours
Note on Q1: Multiple groups can be entered separated by comma ','
Note on R1: Default Value : Fan Auto
Note on S1: Default Value : Lock
Note on T1: Default Value : Yes
Note on U1: Default Value : Yes
Note on V1: Permitted values : Between 60 to 80
Note on W1: Permitted values : Between 61 to 80
Note on Y1: Format : MM/DD/YYYY
Note on Z1: This column will accept the Occupy hours in the following format: Mon,Tue,Wed: 8 AM – 6 PM Thu,Fri: 9 AM – 7 PM Sat,Sun: 10 AM – 10 PM Mon=Monday, Tue=Tuesday, Wed=Wednesday, Thu=Thursday, Fri=Friday, Sat=Saturday, Sun=Sunday Comma ',' is used as a delimiter to separate the days Hyphen ‘-‘ is used as a delimiter to separate the Occupy Hours
Note on AM1: Security contact, out-of-hours access, is escort required, etc.
Note on AY1: A mandatory column
Note on AZ1: A mandatory column
Note on BB1: Default Value : No
Note on BG1: Default Value : No
Note on BH1: Default Value : No
Note on BI1: Default Value : No